## IT Room
[16 empty] | KEY | [19 empty] | KEY | [19 empty] | KEY
Instructions: Racks are calibrated in U's. Our Standard rack height is 47U. Please start from Rack 1 and merge U-spaces according to perferred equipment arrangement within the rack. Kindly do well to hide any unused racks beyond rack beyond rack 3 after topology configuration is complete. NOTE: Incase of existing equipment, use RED TEXT to color new equipment and BLUE TEXT to color existing equipment. | [6 empty] | Partner | >> | [8 empty] | Boarded | [19 empty] | Boarded | [19 empty] | Boarded
[7 empty] | Client | >> | [8 empty] | On-boarding | [19 empty] | On-boarding | [19 empty] | On-boarding
[7 empty] | Deployment Date | >> | [8 empty] | Installed but not powered | [19 empty] | Installed but not powered | [19 empty] | Installed but not powered
[7 empty] | Tech. Contact | >> | [8 empty] | Planned to be on-boarded | [19 empty] | Planned to be on-boarded | [19 empty] | Planned to be on-boarded
[13 empty] | . |  |  |  | Planned to be decommissioned | [19 empty] | Planned to be decommissioned | [19 empty] | Planned to be decommissioned
| Rack 1 |  | power (watts) |  | Rack 2 |  | power (watts) |  | Rack 3 |  | power (watts) |  | Rack 4 |  | power (watts) |  | Rack 5 |  | power (watts) |  | Rack 6 |  | power (watts) |  | Rack 7 |  | power (watts) |  | Rack 8 |  | power (watts) |  | Rack 9 |  | power (watts) |  | Rack 10 |  | power (watts) |  | Rack 11 |  | power (watts) |  | Rack 12 |  | power (watts) |  | Rack 13 |  | power (watts) |  | Rack 14 |  | power (watts) |  | Rack 15 |  | power (watts) |  | Rack 16 |  | power (watts) |  | Rack 17
47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47
46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46 |  | 46
45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 45
44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44 |  | 44
43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43 |  | 43
42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42
41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41 |  | 41
40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40
39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39 |  | 39
38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38 |  | 38
37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37
36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36
35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35
34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34
33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33
32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32 |  | 32
31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31
30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30
29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29 |  | 29
28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28
27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27
26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26 |  | 26
25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25
24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24 |  | 24
23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23 |  | 23
22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22
21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21
20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20
19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19 |  | 19
18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18
17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17
16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16
15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15
14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14
13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13 |  | 13
12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12
11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11 |  | 11
10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10
9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9
8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8
7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7
6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6
5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5
4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4
3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3
2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0